Príloha č. 3 / Annex No. 3

| Priebeh dohodnutia obchodného prípadu na profile SK/PL, SK/HU, SK/CZ Na dennej báze sú cezhraničné kapacity na profiloch SK/PL, SK/HU, SK/CZ prideľované implicitne v rámci procesov SDAC (Single Day-Ahead Coupling). Platformou pre zadávanie ponúk pre účastníkov registrovaných na slovenskom trhu je systém ISOT (modul DT) OKTE. Organizácia krátkodobého trhu podlieha Prevádzkovému poriadku OKTE, a.s. - V prípade, že SDAC nie je schopné generovať výsledky do pravidlami stanoveného limitu, alokačná kancelária JAO vyhlási a koordinuje na príslušných hraniciach Tieňovú aukciu, ktorá je záložným postupom pri prideľovaní cezhraničnej kapacity v časovom rámci denného trhu. V tomto prípade prebieha dohodnutie prenosu s využitím explicitných fyzických prenosových práv získaných v Tieňovej aukcii formou nominácie v systéme Damas Energy. Pravidlá Tieňovej aukcie sú zverejnené na webovom sídle JAO. - Časový priebeh procesu nominácie v systéme Damas Energy je zverejnený na webovom sídle SEPS. Dohodnutie prenosu s využitím kapacitných práv získaných v Tieňovej aukcii prebieha v nasledujúcich krokoch: - Pre dohodnutie denného prenosu (obdobie 24 po sebe idúcich obchodných hodín, resp. 23/25 hodín v prípade prechodu na letný/zimný čas) musí predložiť Užívateľ požiadavku na prenos jedným z nasledujúcich spôsobov: - Vyplnením formulára v používateľskom rozhraní systému Damas Energy. - Upload XML súboru do Damas Energy. - Odoslaním XML súboru do Damas Energy e-mailom na adresu dae@sepsas.sk. - Odoslaním XML súboru do Damas Energy cez webové služby. - Nominácie musia byť zadané v 15 min. rozlíšení. V prípade hodinových produktov musí byť hodnota nominácie rovnaká v každej štvrťhodine príslušnej hodiny. - Zahraničný partner/partneri Užívateľa predkladá/jú požiadavku na prenos do PSE alebo MAVIR alebo ČEPS. - Požiadavka na prenos musí spĺňať podmienky uvedené v dokumente The User's Guide to Scheduling on the common borders between SEPS, MAVIR, PSE and ČEPS. - Hodnoty požadovaných prenosov sú ihneď po prijatí, zaslané do systému zúčtovateľa odchýlok a skontrolované voči disponibilnej finančnej zábezpeke. V prípade nedostatočnej výšky disponibilnej finančnej zábezpeky bude Užívateľovi doručený Anomaly Report (ďalej len „ANO“) vo forme správy v užívateľskom účte Užívateľa v rámci Damas Energy. V prípade, že Užívateľ v čase do uzávierky zadávania požiadaviek na cezhraničný prenos náležite neupraví výšku disponibilnej finančnej zábezpeky, resp. náležite neupraví hodnoty požadovaného prenosu tak, aby disponibilná finančná zábezpeka bola dostačujúca, hodnoty požadovaného prenosu nevstúpia do procesu zosúhlasovania cezhraničných prenosov s hodnotami príslušného susedného operátora PS, tzn. požadovaný prenos nebude akceptovaný. - V prípade splnenia podmienok pre zadanie požiadavky podľa bodu 2.3 a 2.4 tejto Prílohy Prevádzkovateľ PS prostredníctvom Damas Energy prijme zadanú požiadavku. V prípade nesplnenia podmienok Prevádzkovateľ PS prostredníctvom Damas Energy túto požiadavku neprijme. V oboch prípadoch je táto skutočnosť potvrdená Užívateľovi správou v užívateľskom účte v Damas Energy. - Prevádzkovateľ PS preverí technickú realizovateľnosť s ohľadom na bezpečnú a spoľahlivú prevádzku prenosovej sústavy. - V prípade, že do Damas Energy je doručená jedna alebo viacero požiadaviek na prenos, ktoré využívajú kapacitné práva s rovnakým CAI kódom a tieto požiadavky v súčte prevýšia kapacitné práva priradené danému CAI kódu, Damas Energy odošle všetkým dotknutým Užívateľom ANO upozorňujúcim na skutočnosť, že pridelené kapacitné práva boli prekročené. Užívateľovi bude doručený ANO vo forme správy v užívateľskom účte Užívateľa v rámci Damas Energy. V prípade, že Užívateľ/ Užívatelia v čase do uzávierky zadávania požiadaviek na prenos, resp. v rámci korekčného cyklu, neskorigujú príslušné požiadavky na prenos, v procese zosúhlasenia požiadaviek na prenos budú všetky dotknuté požiadavky proporcionálne skrátené a zaokrúhlené smerom nadol na celé číslo. | Course of the Business Case Negotiation on the SK/PL, SK/HU, SK/CZ Profiles - On a daily basis, cross-border capacities on the profiles SK/PL, SK/HU, SK/CZ are allocated implicitly within the SDAC (Single Day-Ahead Coupling) processes. The platform for submitting bids for participants registered on the Slovak market is the ISOT system (DT module) of OKTE. The organization of the short-term market is subject to the Operational Rules of OKTE, a.s. - In the event that SDAC is unable to generate results within the limit set by the rules, the JAO allocation office announces and coordinates a Shadow Auction on the relevant borders, which is a fallback procedure for allocating cross-border capacity in the timeframe of the daily market. In this case, the transmission is agreed upon using explicit physical transmission rights obtained in the Shadow Auction in the form of nomination in the Damas Energy system. The Shadow Auction rules are published on the JAO website. - The time course of the nomination process in the Damas Energy system is published on the SEPS website. - Agreeing the transmission with the use of capacity rights acquired in the Shadow Auction shall take place in the following steps: - To agree the daily transmission (a period of 24 consecutive trading hours or 23/25 hours in case of transition to summer / winter time), the User must submit a request for transmission in one of the following manners: - By filling in the form in the user interface of the Damas Energy. - Via upload of an XML file to Damas Energy. - By e-mailing an XML file to Damas Energy to the address dae@sepsas.sk. - By e-mailing an XML file to Damas Energy via web services. - Nominations must be submitted at 15-minute intervals. For hourly products, the nomination value must be the same for every 15-minute period within the relevant hour. - The User´s foreign partner/partners shall submit a request for transmission to PSE or MAVIR or ČEPS. - The transmission request must meet the conditions specified in the document The User's Guide to Scheduling on the common borders between SEPS, MAVIR, PSE and ČEPS. - The values of the required transmissions shall be forwarded immediately after receipt to the imbalance biller system and checked against a financial security available. In case of an insufficient amount of the available financial security, the User shall receive an Anomaly Report (hereinafter referred to as “ANO”) in the form of a report in the User account of within Damas Energy. If the User by the deadline for entry requests for cross-border transmission fails to adjust the amount of the available financial security accordingly or fails to adjust the values of requested transmission in a way so as the available financial security is sufficient, the values of the requested transmission will not enter the reconciliation process of cross-border transmission with the values of the relevant adjacent TS operator, i.e. the requested transmission will not be accepted. - In case the conditions for entry of a request pursuant to paragraph 2.3 and 2.4 of this Annex are met, the TS Operator shall accept the entered request via Damas Energy. In case of failure to meet the conditions, the TS Operator will not accept such request via Damas Energy. In both cases this shall be confirmed for the User by a report in the User account in Damas Energy. - The TS Operator will examine technical feasibility with regard to safe and reliable operation of the transmission system. - In case one or more requests for transmission making use of the capacity rights with the same CAI code are delivered to Damas Energy and these requests on aggregate exceed the capacity rights assigned to the given CAI code, Damas Energy will send ANO to all Users concerned notifying the fact the allocated capacity rights have been exceeded. The User will receive ANO in the form of report in the User account of the User within Damas Energy. In case the User/Users by the deadline for entry of requests for transmission or within the correction cycle fails to correct particular requests for transmission, all requests for transmission concerned will be proportionally cut and rounded down to an integer in the reconciliation process. |
| --- | --- |