## Application for connection of a
Form "Application for Connection of an Electricity Consumer to TS SR"
Cases | 1) Establishment of a new connection point
2) Change (increase or decrease) of the transformer output in the existing connection point from TS
3) Reconnection of demand after long-term interruption of connection or with the changed demand characteristics
4) Expiry of validity of the Contract on Connection to TS
5) Other:
In case of a repeated application, provide name and date of the original application
Investment project name
1 | Identification data of an applicant (the applicant is a future owner of the facility(ies) or his authorized representative)
First name or name of the applicant from the Commercial Register
Address of the applicant registered office
| Contact person | Name and surname
Telephone
E-mail
Correspondence address
2 | Point of consumption (town/municipality/location)
Connection point to TS (TS substation name / voltage level)
Year of start/change of the facility connected to TS
3 | Technical dimensioning of connection* of the Consumer in the common connection point to TS |  |  | Y | Y+5 | Y+10 | Y+15 | Y+20
- existing [MVA]
- required increase [MVA]
- total
4 | Required max. contemporary electric input power of the connection point |  |  | Winter Maximum
- existing prior to the relevant year [MW]
| - required increase in the relevant year [MW] |  | /
| - total in the relevant year [MW] |  | /
- power factor cos j
Summer Maximum
- existing prior to the relevant year [MW]
| - required increase in the relevant year [MW] |  | /
| - total in the relevant year [MW] |  | /
- power factor cos j
5 | Total consumption of the connection point [MWh/year / MVAr/year] |  |  | Winter Maximum
- existing prior to the relevant year
- required increase in the relevant year
- total in the relevant year
Summer Maximum
- existing prior to the relevant year
- required increase in the relevant year
- total in the relevant year
6 | Safety and operating minimum of demand of the connection point [MW]:
7 | Own source of electricity production | [7 empty] | To cover consumption
| Source technology (diesel aggregate, batteries, other) | [7 empty] | Technological process completion
| Type of fuel (provide % share of individual fuels): | [7 empty] | Other
No
8 | Net output on the source terminal - see sheet No. 1 |  |  | Winter Maximum
| Pnet [MW] |  | /
| Qnet [MVAr] |  | /
Summer Maximum
| Pnet [MW] |  | /
| Qnet [MVAr] |  | /
9 | Minimum output of the source
Pmin [MW]
10 | Own (measuring) technological electricity consumption for electricity production/supply from the electricity source | [7 empty] | %
| for production: | [7 empty] | MWh/h
| for supply: | [7 empty] | MW
| Fuel consumption at production on minimum installed capacity of the electricity source | [7 empty] | GJ/MWh
| for production: | [7 empty] | MWh/MWh
| for supply: | [7 empty] | GJ/hod
| Fuel consumption at production on maximum installed capacity of the electricity source | [7 empty] | MWh/h
for production:
for supply:
11 | Total electricity production from own source for electricity production [MWh/year / MVAr/year] |  |  | Winter Maximum
| - existing prior to the relevant year | [7 empty] | %
| - required increase in the relevant year | [7 empty] | GJ/MWh
| - total in the relevant year | [7 empty] | GJ/h
Summer Maximum
- existing prior to the relevant year
- required increase in the relevant year
- total in the relevant year
12 | Maximum short-circuit contribution to TS: (To be entered in case of a new connection or in case of change of short-circuit conditions towards TS)
Initial symmetrical short-circuit current Ik3" -three-phase[kA]
Initial short-circuit current Ik1" - single-phase [kA]
13 | Required value of the short-circuit power in the connection point of demand facility to TS:
Short-circuit power - three-phase S3 [MVA]
Short-circuit power - single-phase S1 [MVA]
14 | Balance of the connection point output [MW] (point 4 total minus point 8) Pnet.) (+) TS SR demand (-) TS SR supply |  |  | Winter Maximum
Summer Maximum
15 | Balance of the connection point electric work [MWh/year / MVAr/year] (point 5 minus point 11)
| (+) TS SR demand; (-) TS SR supply |  |  | Winter Maximum
- existing prior to the relevant year
- total after increase in the relevant year
Summer Maximum
- existing prior to the relevant year
- total after increase in the relevant year
3
16 | Installed capacity of the equipment for the power factor compensation of the Consumer:
Place of installation
Reactive power [MVAr]
Character (ind./cap.)
17 | Securing backup supply of the Consumer from TS
Name of ESt in TS for the required backup supply of the Consumer from TS:
Maximum required contemporary apparent electric input of the backup supply [MVA]
18 | Maximum immediate change of power at normal operation of the Consumer equipment
ΔPmax [MW]
ΔQmax [MVAr]
19 | Required value of the operating voltage in the connection point to TS [kV]:
20 | Ancillary service provision
1. Type of service** / power [MW] / regulatory range [MW-MW]
2. Type of service** / power [MW] / regulatory range [MW-MW]
3. Type of service** / power [MW] / regulatory range [MW-MW]
21 | The overview interplant diagram of distribution systems from the HV voltage level including connection of the plant to the superior VHV system.
22 | Specification of grid element paraconnections - see sheet No. 2
23 | List of synchronous asynchronous engines in the operation of the Consumer - summary power of individual groups of engines above 500 kW stating the number of the contained units - see sheet No. 3.
24 | Assumed annual, monthly, weekly, and daily load curve, in minimum range - see sheet No. 4
25 | Active and reactive power time characteristics during start up and shutdown of consumers facilities
26
| Place: |  |  | Date:
| Filled in by: |  |  | Approved by:
|  | Name and surname |  |  | Name and surname of the statutory representative
|  | Signature |  |  | Seal and signature of the statutory representative
27 | Note:
* Technical dimensioning of the consumer connection in the relevant connection point to TS is an amount of the maximum contemporary apparent power of all electro-energetic facilities of the consumer expressed in MVA
** Types of ancillary services are described in the document "Technical Condition for Access and Connection, Rules for the Transmission System Operation", Document B, Chapter B5. They are available on the SEPS website.
No
Yes

## 1. Own electricity generating f
Captive electricity generating facility
Year | CAPTIVE PRODUCTION
| Production unit | Type | Nominal parameters |  |  |  |  | Power
Turbine regulability - reserve P
|  |  | Sn | Un | cos jn | RSt | Xd´´ | Instal. | Reached | Temp. decom. | Emerg: | Pg | Qg | Pvs | Qvs | Pnet | Qnet | Backup | P-Q diagram | PR | SR
|  |  | MVA | kV | - | W | % | MW | MW | MW | MW | MW | MVAr | MW | MVAr | MW | MVAr | MW | State the scheme | ± [%] | ± [%]
Year of start or change (Y)
| Total | [14 empty] | 0 | 0
Year (Y+5) WM
| Total | [14 empty] | 0 | 0
Year (Y+10) WM
| Total | [14 empty] | 0 | 0
Year (Y+15) WM
| Total | [14 empty] | 0 | 0
Year (Y+20) WM
| Total | [14 empty] | 0 | 0
or if there are differences between WM and SM, to be provided for both periods
Year (Y+5) SM
| Total | [14 empty] | 0 | 0
Year (Y+10) SM
| Total | [14 empty] | 0 | 0
Year (Y+15) SM
| Total | [14 empty] | 0 | 0
Year (Y+20) SM
| Total | [14 empty] | 0 | 0
Explanatory notes:
Year | - for the determined years Y, Y+5, Y+10, Y+15, Y+20 the data are provided: in the winter maximum (WM - 3rd Wednesday in January at 5 p.m.) for the period at the tune of years Y, Y+5, Y+10, Y+15, Y+20 (January) and in the summer maximum (SM - 3rd Wednesday in July at 5 p.m.) for the summer of the years Y, Y+5, Y+10, Y+15, Y+20 (July)
CAPTIVE PRODUCTION: | (Provide producer if there are currently production units available or if any sources are considered in the future)
Production unit | - name of individual production unit
Type | - thermal TE, captive ZE, hydroelectric VE, small hydroelectric MVE, steam-gas PPC, wind VtE
Sn | - nominal apparent power of the generator
Un | - nominal ĺine-to-line voltage of the generator
cos jn | - generator nominal power factor
Rst | - resistance of a single phase of the stator winding
Xd´´ | - generator subtransient reactance
Instal. | - Installed power of the power plant - is a sum of the nominal active power of all generators of the power plant including the generators for house-load operation. Only the generators
which were decommissioned permanently from the power plant or which permanently lack the drive and serve as compensators
Reached | - The reachable output of the power plant - is the highest active power which may be achieved by the power plant in the monitored period in the respective state of the entire facility
and in case of normal operating conditions of the power plant
Temp. decom. | - Temporary decommissioning - due to general overhaul, common repair, reconstruction etc.
Emerg: | - The emergency output of the power plant - is the highest active power which may be achieved by the power plant within the certain period with regard to all technical and operating conditions
Pg, Qg | - estimated output supplied to the generator terminals used in the respective year
Pvs, Qvs | - self-consumption of the source
Pnet, Qnet | - net production on the threshold of the source Pnet = (Pg - Pvs), Qnet = (Qg - Qvs)
Backup | - difference (Emerg. - Supplied to terminals)
P-Q diagram | - provide the P-Q diagram of sources (with designated current limits of the turbine regulator - Pmax/Pmin and exciter regulator - Qmax/Qmin, determining the control area of the PQ diagram of the source, for the respective years)
PR, SR | - regulation limits for primary/secondary regulation (technically achievable)

## 2. Specifications of parameters
SPECIFICATIONS OF THE GRID ELEMENT PARAMETES
TRANSFORMERS
(Transformers connecting the connection point to the TS SR)
TRANSFORMERS double winding
Name | Node_1 | Node_2 | Sn | ek | dPo | dPk | Io | Un1 | Un2 | Step | Angle | Tap+ | Tap- | Act_tap | Typ_reg | Aut_reg | Reg_under_ | R0/R1 | X0/X1 | 1f. - 3f. | Mag. | Connection | Producer
| (prim. str.) | (sec. str.) | [MVA] | [%] | [kW] | [kW] | [%] | [kV] | [kV] | [%] | [deg] | [-] | [-] | [-] |  |  | load | [-] | [-] |  | circuit of | windings
TRANSFORMERS triplex winding
Name | Node_1 | Node_2 | Node_3 | Sn1 | Sn2 | Sn3 | ek12 | ek13 | ek23 | dPk12 | dPk13 | dPk23 | dPo | Io | Un1 | Un2 | Un3 | Step | Angle | Tap+ | Tap- | Act_tap | Typ_reg | Aut_reg | Reg_under_ | R0/R1 | X0/X1 | 1f. - 3f. | Mag. | Connection | Producer
| (prim. str.) | (sec. str.) | (tert. str.) | [MVA] | [MVA] | [MVA] | [%] | [%] | [%] | [kW] | [kW] | [kW] | [kW] | [%] | [kV] | [kV] | [kV] | [%] | [deg] | [-] | [-] | [-] |  |  | load |  |  |  | circuit of | windings
Note:
| ek, dPk | - state to which power individual ek and dPk relate
| Step | - value of the additional voltage per one tap
| Angle | - angle of turning of additional voltage for regulation
| Tap+ | - maximum tap
| Tap- | - minimum tap
| Act_tap | - actual tap
| Typ_reg | - type of regulation on the transformer: |  |  |  |  | s - on the secondary side
p - on the primary side
us - in the node on the secondary side
up - in the node on the primary side
| Aut_reg | - automatic voltage regulation: |  |  |  | 0 – is not
1 - on the primary side
2 - on the secondary side
| Reg_under_load | - regulation under load: |  |  | Y - yes
N - no
| 1.f - 3.f | 1-phase / 3-phase unit
| Mag. circuit: | J - core, P - sheath
LINE (EXTERNAL LINE, CABLE LINE) connecting the connection point to the TS SR
Name | Node_1 | Node_2 | R1 | X1 | B1 | Imax | limit_1 | limit_2 | R0 | X0 | B0 | Voltage | Length | Year of Construction | Owner | Overhead line
| (from where) | (to where) | [W] | [W] | [mS] | [A] | [A] | [A] | [W] | [W] | [mS] | [kV] | [km] |  |  | Kind of line | Line type | Tower type
Note:
R1 , X1 , B1 - consequent components
R0 , X0 , B0 - zero sequence components
Imax - with external lines provided data Idov in the summer
limit_1 (limit_2) - current limit of the feeder field in node_1 (node_2) for the respective ext. line, cable line [A]
Type of the line - 1-system or 2-system
Type of the line - (e.g. AlFe240/39)
Type of the tower - (e.g. barrel, portal, etc.)
Note on L5: Gelušiak Radovan: zrušenie zabezpečenia hárku nevyžaduje heslo

## 3. List of engines
List of asynchronous engines and synchronous engines in the operation of the Consumer - summary power of individual groups of engines above 500 kW stating the number of the contained units
Asynchronous engines
Designation | Pn | Un | cos jn | η | Ilr/In | p | Rm/Xm
| [kW] | [kV] | [-] | [-] | [-] | [-] | [-]
Total | 0
Pn [kW] - nominal active power of one engine
Un [kV] - nominal engine voltage
cos jn [-] - nominal engine power factor
η [-] - engine efficiency
Ilr/In [-] - proportion of the starting current and the nominal engine current
p [-] - number of engine pair of poles
Rm/Xm [-] - proportion of engine resistance and reactance
Synchronous engines
Designation | Sn | Un | cos jn | RSt | x´´dn | x´´ds | x2n | xdn | xds | xqn | xqs | x´dn | x´ds | x´qn | x´qs | x´´qn | x´´qs | xo | X1 | Ta | T´d | T´´d | T´q | T´´q | H | Tb | ρ = Ubmax/Ubn | Producer
| [MVA] | [kV] | [-] | [Ω] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [%] | [s] | [s] | [s] | [s] | [s] | [s] | [s] | [-]
Total | 0
RSt - resistance of one phase of the stator winding
x2n - negative reactance in the unsaturated state
xdn - direct-axis synchronous reactance in the unsaturated state (%)
xds - direct-axis synchronous reactance in the saturated state (%)
xqn - quadrature-axis synchronous reactance in the unsaturated state (%)
xqs - quadrature-axis synchronous reactance in the saturated state (%)
x´dn - direct-axis transient reactance in the unsaturated state (%)
x´ds - direct-axis transient reactance in the saturated state (%)
x´qn - quadrature-axis transient reactance in the unsaturated state (%)
x´qs - quadrature-axis transient reactance in the saturated state (%)
x´´dn - direct-axis subtransient reactance in unsaturated state (%)
x´´ds - direct-axis subtransient reactance in saturated state (%)
x´´qn - quadrature-axis transient reactance in the unsaturated state (%)
x´´qs - quadrature-axis transient reactance in the saturated state (%)
x0 - zero-sequence reactance (%)
x1 - stray reactance of the rotor (%)
Ta - time constant of the direct-current component (s)
T´d - direct-axis transient time constant (s)
T´´d - direct-axis subtransient time constant (s)
T´q - quadrature-axis transient time constant (s)
T´´q - quadrature-axis sub transient time constant (s)
H or Tj - inertia constant (s)
Tb - time constant of the exciter (s)
ρ = Ubmax/Ubn - relative cap of the excitation voltage

## 4. Assumed electricity consumpt
Assumed annual electricity consumption
| Y |  | R+5 |  | R+10
| ∑P | ∑Q | ∑P | ∑Q | ∑P | ∑Q
| [MWh] | [MVAr.h] | [MWh] | [MVAr.h] | [MWh] | [MVAr.h]
Assumed consumption
Assumed course of load
Date / interval 1 hr: | Y |  | R+5 |  | R+10
| P | Q | P | Q | P | Q
| [kW] | [kVAr] | [kW] | [kVAr] | [kW] | [kVAr]
2013-01-01 01:00
2013-01-01 02:00
2013-01-01 03:00
2013-01-01 04:00
...
...
at least a week under which the winter national measurement falls 3rd Wednesday in January (15-minute interval, 672 values)
...
...
at least a week under which the winter national measurement falls 3rd Wednesday in January (15-minute interval, 672 values)
...
...
2013-12-31 21:01
2013-12-31 22:01
2013-12-31 23:01
2014-01-01 00:01