|  | Available Transmission Capacity for cross-border exchanges of electricity |  |
| --- | --- | --- |
| for the period: Year 2007. Electricity flow direction from SEPS system to system:. CEPS; PSE-O; MAVIR; WPS. www.e-trace.biz1); www.e-trace.biz1); 275 MW 2); 450 MW 3).. Electricity flow direction to SEPS system from system:. CEPS; PSE-O; MAVIR; WPS. www.e-trace.biz1); www.e-trace.biz1); 200 MW 2); 450 MW 3).. Notes. - Values are valid for basic topology of network and typical regime state to consider criterion N-1. - Criterion N-1 on the profile SEPS-WPS is not fulfilled . - Other trading capacities on individual profiles are determined in other stages of preparation of operation (month, day). - 1) Auction is done according to Rules published on the website www.e-trace.biz - 2) On the profile with MAVIR ATC values were coordinated and agreed with MAVIR ZRt. Each of both parties performs an auction of its ATC part with a mutual respecting of the results. For the direction from SEPS to MAVIR: - NTC of the profile for year 2007: 900 MW - After considering of AAC accepted by SEPS, a.s. and MAVIR ZRt. (400 MW) is ATC allocated by SEPS, a.s.: 275 MW. For the direction from MAVIR to SEPS: - ATC of profile: 400 MW - ATC of profile allocated by SEPS, a.s.: 200 MW - 3) The value is determined by SEPS, a.s. and capacities are allocated through one-sided auction on SEPS, a.s. side. The value of ATC is reduced to value 0 MW during maintenance term of cross-border transmission line V440 Veľké Kapušany - Mukačevo . (preliminary term of maintenance: 30.4. - 4.5.2007, other terms will be specified within monthly preparation of operation). Reservation of capacity on the profile from the part of SEPS, a.s.. from SEPS to MAVIR; 300 MW. from PSE-O to SEPS; 300 MW.. Network bottlenecks. In a case of some regime state (mainly at line`s switch-off between CEPS and APG) comes into bottlenecks on the profile SEPS - MAVIR.. |